OALCF Task Cover Sheet

Task Title: Finding Information Tasks

| Learner Name: |  |
| --- | --- |
| Date Started: Date Completed: Successful Completion: Yes___ No___ |  |
| Goal Path: Employment ___ Apprenticeship Secondary School Post Secondary Independence___ |  |
| Task Description: Electricians interpret diagrams and read tables to plan work and complete tasks. |  |
| Competency: A: Find and Use Information | Task Group(s): A2: Interpret documents |
| Level Indicators: A2.1: Interpret very simple documents to locate specific details A2.2: Interpret simple documents to locate and connect information A2.3: Interpret somewhat complex documents to connect, evaluate, and integrate information |  |
| Performance Descriptors: see chart on last page |  |
| Materials Required: - Pencil - Cable Chart - Electrical Schematic - Hot Water Tank label |  |

Task Title: Finding Information Tasks

Electricians interpret diagrams and read tables to plan work and gather supplies.  Use the Cable Chart, Electrical Schematic and Hot Water Tank label to complete the following tasks.

Wires are encased in a cable.

Learner Information and Tasks:

Task 1:	Look at the Hot Water Tank label.  Circle, underline, or highlight the upper allowable wattage rating.

Task 2:	Review the Electrical Schematic.  How many wires are required for the thermostat to function?

_________________________

Task 3:	Refer to the Cable Chart to determine the minimum requirements for the following tasks.  Identify the cable by its code.

- The cable to supply a dryer. ______________

- The cable to provide 100 amp service to a home. ________________

- The 3-wire cable that is required to connect 2 switches (one on main floor and the other on the second) to a light over the stairs. _________

Electrical Schematic

Hot Water Tank

Cable Chart

| Code | No. of Wires | Uses |
| --- | --- | --- |
| #14-2 | 2 w/gnd | general lighting and receptacles |
| #14-3 | 3 w/gnd | 3-way switches, split receptacles |
| #12-2 | 2 w/gnd | kitchen and bath circuits |
| #12-3 | 3 w/gnd | 3-way switches on 20 amp services |
| #10-3 | 3 w/gnd | Dryers, cook top ovens |
| #4 |  | 70 amp services, 100 amp neutral conductor |
| #2 |  | main conductor for 100 amp services |

Code: Gauge – number of wires. For example, #14-2 means 2 14 gauge wires.

Note: w/gnd means ‘with ground wire’.  In these cases, the ground wire is not included in the wire count

Task Title: Finding Information Tasks

Answer Key

Task 1:	3000/2225

Task 2:	3

Task 3:	A) #10-3

B) #2

C) #14-3

## Task Title: Finding Information Tasks

| ##### Performance Descriptors |  | Needs Work | Completes task with support from practitioner | Completes task independently |
| --- | --- | --- | --- | --- |
| A2.1 | - scans to locate specific details |  |  |  |
|  | - interprets brief text and common symbols |  |  |  |
|  | - locates specific details in simple documents, such as labels and signs |  |  |  |
| A2.2 | - performs limited searches using one or two search criteria |  |  |  |
|  | - extracts information from tables and forms |  |  |  |
|  | - uses layout to locate information |  |  |  |
|  | - makes low-level inferences |  |  |  |
| A2.3 | - performs complex searches using multiple search criteria |  |  |  |
|  | - integrates several pieces of information from documents |  |  |  |
|  | - uses layout to locate information |  |  |  |
|  | - makes inferences and draws conclusions from information displays |  |  |  |

This task:      was successfully completed___ 		needs to be tried again___

#### Learner Comments

____________________________						_________________________

#### Instructor (print)								Learner Signature