OALCF Task Cover Sheet

Task Title: Interpret and Create Drawings

| Learner Name: |  |
| --- | --- |
| Date Started: Date Completed: Successful Completion: Yes___ No___ |  |
| Goal Path: Employment  Apprenticeship  Secondary School Post Secondary Independence___ |  |
| Task Description: Electricians interpret, modify and create schematic drawings using standardized icons and legends. They use the drawings to plan tasks and determine materials needed for a job. |  |
| Competency: A: Find and Use information B: Communicate Ideas and Information C: Understand and Use Numbers | Task Group(s): A2: Interpret documents B2: Write continuous text B3: Complete and create documents |
| Level Indicators: A2.2: Interpret simple documents to locate and connect information A2.3: Interpret somewhat complex documents to connect, evaluate and integrate information B2.1: Write brief texts to convey simple ideas and factual information B3.2a: Use layout to determine where to make entries in simple documents B3.3a: Decide what, where and how to enter information in somewhat complex documents |  |
| Performance Descriptors: see chart on last page |  |
| Materials Required: - Pencil - ELECTRICAL LEGEND - Blueprint Section - Electrical Supplies Order Form - Schematic Drawing (BEDROOM 1) |  |

Task Title: Interpret and Create Drawings

Electricians interpret, modify and create schematic drawings using standardized icons and legends.  They use the drawings to plan tasks and determine materials needed for a job.

Use the following ELECTRICAL LEGEND, Blueprint Section, Electrical Supplies Order Form and Schematic Drawing (BEDROOM 1), to complete the tasks.

Learner Information and Tasks:

Task 1:	Interpret the ELECTRICAL LEGEND and Blueprint Section to complete the following tasks.

- How many switches are required for bedroom #2?

- What is the electrical apparatus over the sink?

Task 2:	The electrician orders supplies.  Use the ELECTRICL LEGEND and the Blueprint Section to decide what electrical supplies are needed for the Bathroom and 2 Bedrooms.  Complete the Electrical Supplies Order Form.

Task 3:	Refer to the icons of the ELECTRICAL LEGEND to draw the electrical apparatuses, as per the directions, on the bedroom diagram.

- Switch for overhead light on west wall near door

- Overhead light centered in room

- Pull cord light switch in closet centred between sliding doors

- 2 duplex receptacles on each of south and east walls

- 1 duplex receptacle on north wall

| Electrical Supplies Order Form |  |
| --- | --- |
| Item | No. Requested |
| Pull cord light switch |  |
| Ceiling mounted light fixture |  |
| Potlight |  |
| Bar light fixture |  |
| Switch |  |
| Three way switch |  |
| Ventilation fan switch |  |
| Duplex receptacle |  |
| Split receptacle |  |
| Ground fault circuit interrupter (GFCI) |  |
| Weatherproof receptacle |  |
| 220v receptacle |  |
| Phone jack |  |
| Cable outlet |  |
| Exhaust fan |  |
| Interconnected smoke alarm |  |
| Carbon Monoxide detector |  |
| Thermostat/circulation fan |  |
| Other |  |

Bedroom Diagram

Task Title: Interpret and Create Drawings

Answer Key

Task 1:	a) Scan the ELECTRICAL LEGEND to locate icon for switch.  Find the switch icons in Bedroom #2 on the Blueprint Section diagram.  Count the switches.  2 switches.

b) Locate the Bathroom on the Blueprint Section.  Find the sink.  Match the fixture over the sink with an icon on the ELECTRICAL LEGEND.  The electrical apparatus over the sink is a Bar light Fixture.

Task 2:	Scan the 2 Bedrooms and Bathroom on the Blueprint Section and match the symbols on the ELECTRICAL LEGEND.  Count the number of times each symbol is shown in the prescribed rooms and record these totals on the Electrical Supplies Order Form.  Note:  the items listed in Other are not necessary.

| Electrical Supplies Order Form |  |
| --- | --- |
| Item | No. Requested |
| Pull cord light switch |  |
| Ceiling mounted light fixture |  |
| Potlight |  |
| Bar light fixture | 1 |
| Switch | 6 |
| Three way switch |  |
| Ventilation fan switch |  |
| Duplex receptacle | 11 |
| Split receptacle |  |
| Ground fault circuit interrupter (GFCI) | 1 |
| Weatherproof receptacle |  |
| 220v receptacle |  |
| Phone jack |  |
| Cable outlet |  |
| Exhaust fan | 1 |
| Interconnected smoke alarm |  |
| Carbon Monoxide detector |  |
| Thermostat/circulation fan |  |
| Other | 2 fans, 2 sconces |

Task 3:

## Task Title: Interpret and Create Drawings

| ##### Performance Descriptors |  | Needs Work | Completes task with support from practitioner | Completes task independently |
| --- | --- | --- | --- | --- |
| A2.2 | - performs limited searches using one or two search criteria |  |  |  |
|  | - extracts information from tables and forms |  |  |  |
|  | - uses layout to locate information |  |  |  |
|  | - makes connections between parts of documents |  |  |  |
|  | - makes low-level inferences |  |  |  |
| A2.3 | - performs complex searches using multiple search criteria |  |  |  |
|  | - integrates several pieces of information from documents |  |  |  |
|  | - compares or contrasts information between two or more documents |  |  |  |
|  | - uses layout to locate information |  |  |  |
|  | - identifies the purpose and relevance of documents |  |  |  |
|  | - makes inferences and draws conclusions from information displays |  |  |  |
|  | - identifies sources, evaluates and integrates information |  |  |  |
| B2.1 | - writes simple texts to request, remind or inform |  |  |  |
|  | - conveys simple ideas and factual information |  |  |  |
|  | - demonstrates a limited understanding of sequence |  |  |  |
|  | - uses highly familiar vocabulary |  |  |  |
| B3.2a | - uses layout to determine where to make entries |  |  |  |
|  | - begins to make some inferences to decide what information is needed, where and how to enter the information |  |  |  |
|  | - makes entries using a limited range of vocabulary |  |  |  |
|  | - follows instructions on documents |  |  |  |
| B3.3a | - uses layout to determine where to make entries |  |  |  |
|  | - makes inferences to decide what, where and how to enter information |  |  |  |

This task:      was successfully completed___ 		needs to be tried again___

#### Learner Comments

____________________________						_________________________

#### Instructor (print)								Learner Signature